ATV – 131 (Simplified) for a given Constant V

PXT calcs

No

Yes

Output

* HSG uses BOD removal load Q(BOD0 – BODeff) Paşaköy Data T = 14.9 oC MLVSS = 2407 X = MLSS = 5616 (CT = 28 d Q = 65 903 m3/d In effl COD = 561.83 561.85 - BOD = 561.83/2eff 561.81/2 - TKN0 = 56.0 – 3.0 56.0 3.0 NH4N = 48.2 – 3.4 48.2 3.4 NO3N = 0 – 8.9 0 8.9

# Text boxes

Input Q, X, VT, T, SS0, BOD0, TKNo, NO3o

FT = 1.072T-15

Input (T, X

Quadratic Eqn in terms of SRT

Solve for SRT

Derived from definition of SRT = VT/PXT and PXT

f1 = 0.102 FT

f2 = 0.17 FT

Analytical solution for (CT it is enough to know: T, BOD0, SS0, VT, X given

a = f2L-f1

b = L –f2K

c = -K

OUC = 0.56 + 0.15 FT *SRT / (1+0.17 FT *SRT)

POTENTIAL CALC’S

Decreasing nitrification safety factor, increases anoxic volume

Input Nitrification Safety Factor SF=1.45

DNpot calc.

Increasing anoxic volume, increases DN-potential DN-pot should not be increased ... are than DNcap

CAPACITY CALC’S

WASN =0.05 BOD0, if (CT < 10d

WASN=0.04 BOD0

DNcap calculations

Choose TKNeff

Let DNpot = DNcap and solve for NO3Neff

NO3Neff = DNpot /Q – (NN + NO3N0 ) / 1000

Check

If TKNeff + NO3Neff < 10

(Select bigger vol)

PXT* = YobsH BODL

X, VT, SRT, VD/VT, NO3Neff